Suggested Specification Guidelines for GageCarve

Specifying GageCarve is a simple process. Follow the guidelines listed below.

Item:	GageCarve (Gage Vertical Surfacing)

Design:

Enter specified design.

Finish:	 Powder Coated (     )

Anodized (     )

Size:	 48" x 96" (1219 mm x 2438 mm)

48" x 120" (1219 mm x 3048 cm)

Metal

Thickness:	0.125" - 0.160" (3.18 - 4.06 mm)

Weight:	0.85 - 1.36 lbs/SF (0.39 - 0.61 kg)

Attachment

System:	 System A (Adhesive Application)

System E (Extrusion Panel System)

System Z (Z bar method)

By installer

Extrusion

(System E):	 Standard     Thin Line     As specified

Additional

Substrate:	 0.375" (if required for System E)